## Slide 1: Comparing Reliability At Concept Design Period

## Slide 2: Reliability in Series/Parallel Systems
Eva FALTINOVA. Martin MANTIC, et. al.. Reliability Analysis of Crane Lifting Mechanism.
Scientific Journal of Silesian University of Technology. Series Transport. 2018, 98, 15-26.
ISSN: 0209-3324. DOI: https://doi.org/10.20858/sjsutst.2018.98.2.

## Slide 3: Safety Evaluation
Different function fail causes different damage, So it has different weight:
Define wi as the importance of the function and suppose:
Then:
  Safety of Series system:
    S(t)=r1(t)w1r2(t)w2…rn(t)wn
  Safety of Parallel system:
    S(t)=1-(1-r1(t)w1)(1-r2(t)w2)…(1-rn(t)wn)
When fail | Such As | wi
Deadly damage |  | 0
Big damage | Hit telescope | 0.25
Middle damage | Get wet by rain | 0.5
Small damage |  | 0.75
No matter |  | 1

## Slide 4: Traditional Round Dome
No. | Functions | Reliability | Safty Weight
1 | Rotate | 0.9 | 1
2 | Window | 0.9 | 0.5
1
2
R=0.9*0.9=0.81
S=0.9*1*0.9*0.5=0.41

## Slide 5: Two sliding Halves
No. | Functions | Reliability | Safty Weight
1 | Sliding 1 | 0.9 | 0.5
2 | Sliding 2 | 0.9 | 0.5
1
2
R=0.9*0.9=0.81
S=0.9*0.5*0.9*0.5=0.20
Three companies have bids.

## Slide 6: Sliding with one gate
No. | Functions | Reliability | Safty Weight
1 | Sliding 1 | 0.9 | 0.5
2 | gate | 0.9 | 0.25
1
2
R=0.9*0.9=0.81
S=0.9*0.5*0.9*0.25=0.10

## Slide 7: Sliding with two gates
No. | Functions | Reliability | Safty Weight
1 | Sliding 1 | 0.9 | 0.5
2 | Gate 1 | 0.9 | 0.25
3 | Gate 2 | 0.9 | 0.25
1
2
R=0.9*0.9*0.9=0.73
S=0.9*0.5*0.9*0.25*0.9*0.25=0.022
3

## Slide 8: Lotus with 4 petals
No. | Functions | Reliability | Safty Weight
1 | Wall 1 | 0.9 | 0.5
2 | Wall 2 | 0.9 | 0.5
3 | Wall 3 | 0.9 | 0.5
4 | Wall 4 | 0.9 | 0.5
1
2
R=0.9*0.9*0.9*0.9=0.66
S=0.9*0.5*0.9*0.5*0.9*0.5*0.9*0.5=0.041
3
4

## Slide 9: Lotus with Hydraulic rams
No. | Functions | Reliability | Safty Weight
1 | Wall 1 | 0.95 | 0.5
2 | Wall 2 | 0.95 | 0.5
3 | Wall 3 | 0.95 | 0.5
4 | Wall 4 | 0.95 | 0.5
1
2
R=0.95*0.95*0.95*0.95=0.81
S=0.95*0.5*0.95*0.5*0.95*0.5*0.95*0.5=0.051
3
4

## Slide 10: Lotus with 6 petals
No. | Functions | Reliability | Safty Weight
1 | Wall 1 | 0.9 | 0.5
2 | Wall 2 | 0.9 | 0.5
3 | Wall 3 | 0.9 | 0.5
4 | Wall 4 | 0.9 | 0.5
5 | Wall 4 | 0.9 | 0.5
6 | Wall 4 | 0.9 | 0.5
1
2
R=0.9*0.9*0.9*0.9*0.9*0.9=0.53
S=0.9*0.5*0.9*0.5*0.9*0.5*0.9*0.5*0.9*0.5*0.9*0.5=0.0083
3
4
5
6

## Slide 11: Summary
 | Traditional round dome | Two sliding halves | One gates | Two gates | Four petals | Enhance reliability of each petal | Six petals
Reliability | 0.81 | 0.81 | 0.81 | 0.73 | 0.66 | 0.81 | 0.53
Safety | 0.41 | 0.20 | 0.10 | 0.022 | 0.041 | 0.051 | 0.0083

## Slide 12: Summary：Reliability + Cost
 |  | Traditional round dome | Two sliding halves | One gates | Two gates | Four petals | Enhance reliability of each petal | Six petals
Reliability |  | 0.81 | 0.81 | 0.81 | 0.73 | 0.66 | 0.81 | 0.53
Safety |  | 0.41 | 0.20 | 0.10 | 0.022 | 0.041 | 0.051 | 0.0083
Cost | base | 1 | 1+6 | 1+3 | 1+2 | 1 | 1 | 1
 | Structure & material | 1- | 1 | 1 | 1 | 1+ | 1+ | 1+
 | motions | 2+hoist | 2+hoist | 2+hoist | 3+hoist | 4+Crane | 4+Crane | 6+Crane
 | Trans& onsite Assemble | 1+ | 1 normal | 1 normal | 1 normal | 1 particular | 1 particular | 1 particular